## supercap
Event	Timestamp	Volts
connected	00:28
contactors	00:31
	00:35	14.2
honk	00:40	14.06
	00:45	13.7
	00:50	13.44
	00:55	13.13
	01:00	12.82
	01:05	12.51
	01:10	12.17
	01:15	11.82
	01:20	11.49
depleted	01:27	10.97	00:00:47
	01:30	11.1
	01:40	11.3
	01:50	11.49
	02:00	11.68
	02:10
	02:20	12.04
	02:30	12.23
	02:40	12.4
	02:50
	03:00
	03:10
	03:20	13.05
	03:30	13.19
	03:40	13.3
	03:50	13.4
	04:00	13.5
	04:10	13.59
	04:20	13.68
	04:30
	04:40	13.82
	04:50
	05:00	13.93
	05:10	13.98
connected	05:15	14
contactors	05:17	14.01
	05:20	14.02
honk	05:28	13.9	00:04:01
	05:30	13.81
	05:35	13.5
	05:40	13.2
	05:45	12.88
	05:50	12.59
	05:55	12.24
	06:00	11.89
	06:05	11.5
	06:10	11.17
	06:15	10.77
end	06:20	10.46	00:00:52

	Seconds
Discharge 1	47
Recharge	241	173	if losses fixed
Discharge 2	52

Cycle Time	293

Minutes/Cycle	4
Cycles/Hour	15
Hours/Day	8
Cycles/Day	120
Cycles/Year	43800

		Years
Mechanical	200000	4.57
Full Load	3000	0.07

Per Capacitor	$57.00
6s Pack	$342.00

Per Cell	$61.67
6s Pack	$370.00

Volts	2.3
Ah	35
Cells	6
Wh	483

80% Discharge	386	Wh

Volts	120
Watts	6.5
AC Power	780
Inverter	90.00%
DC Power	867

		Hours
PV Charge W	300	1.29
Discharge W	567	0.68
		1.97

Minutes/Cycle	118.19
Cycles/Hour	0.51
Hours/Day	8.00
Cycles/Day	4.06
Cycles/Year	1482

		Years
Mechanical	200000	134.92
Full Load	3000	2.02

Battery Cycles	20000	13.49

Conclusions

Supercapacitors should not be used for solar charging EVS.
	Does not store enough energy
	EV contactors will wear out

Lithium Titanate batteries appear to be suitable for this purpose.
	Acceptable 4 cycles/day on EV contactors
	Expected to last 13 years
	Cost similar to supercapacitors
Supercapacitor Charge Test © Real Solar Cars 2020
Elapsed Time
Volts